## AutomationInputSheet.csv
controllerFamily | controllerVariant | controllerCodeNo | softwareVersion | controllerPV | controllerApplication | database | toTest | PortNumber | Isdefault
ETC1Hx | ETC1H1 |  |  |  | STANDARD | Danfoss.ETC1H.STANDARD.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | DUALDEFROST | Danfoss.ETC1H.DualDefrost.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | COND101 | Danfoss.ETC1H.Condenser Protection.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | MEDICINECOOLER | Danfoss.ETC1H.MEDICINECOOLER.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | GDM101 | Danfoss.ETC1H.GDM101.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | FG_GDM | Danfoss.ETC1H.GDM101.db3 |  |  | Yes
ETC1Hx | ETC1H1 |  |  |  | DFNOFROST100 | Danfoss.ETC1H.DFNOFROST.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | STANDARD | Danfoss.ETC1H.STANDARD.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | DUALBAND102 | Danfoss.ETC1H.Dual Band.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | DUALDEFROST | Danfoss.ETC1H.DualDefrost.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | COND101 | Danfoss.ETC1H.Condenser Protection.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | MEDICINECOOLER | Danfoss.ETC1H.MEDICINECOOLER.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | DFNOFROST100 | Danfoss.ETC1H.DFNOFROST.db3 |  |  | Yes
ETC1Hx | ETC1H2 |  |  |  | FG_GDM | Danfoss.ETC1H.GDM101.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | STANDARD | Danfoss.ETC1H.STANDARD.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | GDM101 | Danfoss.ETC1H.GDM101.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | FG_GDM | Danfoss.ETC1H.GDM101.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | DUALBAND102 | Danfoss.ETC1H.Dual Band.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | COND101 | Danfoss.ETC1H.Condenser Protection.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | WINECOOLER | Danfoss.ETC1H.WINE108.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | DUALDEFROST | Danfoss.ETC1H.DualDefrost.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | MEDICINECOOLER | Danfoss.ETC1H.MEDICINECOOLER.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | DOUBLEDOOR | Danfoss.ETC1H.DoubleDoor.db3 |  |  | Yes
ETC1Hx | ETC1H3 |  |  |  | WESTERN | Danfoss.ETC1H.WESTERN.db3 |  |  | No
ETC1Hx | ETC1H3 |  |  |  | DFNOFROST100 | Danfoss.ETC1H.DFNOFROST.db3 |  |  | Yes
EET | EETc 11 | 080N0012-EET Compact 1 Relay 120V | 1.21 | PV01 |  | Danfoss.EETc.db3 |  |  | Yes
EET | EETc 21 | 080N0013-EET Compact 2 Relay 120V | 1.21 | PV01 |  | Danfoss.EETc.db3 |  |  | Yes
EET | EETc 21 | 080N0013-EET Compact 2 Relay 120V | 1.22 | PV01 |  | Danfoss.EETc.db3 |  |  | Yes
EET | EETc 12 | 080N0010-EET Compact 1 Relay 230V | 1.21 | PV01 |  | Danfoss.EETc.db3 |  |  | Yes
EET | EETc 22 | 080N0011-EET Compact 2 Relay 230V | 1.21 | PV01 |  | Danfoss.EETc.db3 |  |  | Yes
EET | EETa 2W | 080N0014-EET Advanced 2 Relay wide range | 1.38 | PV01 |  | Danfoss.EETa.db3 |  |  | Yes
EET | EETa 3W | 080N0015-EET Advanced 3 Relay wide range | 1.38 | PV01 |  | Danfoss.EETa.db3 |  |  | Yes
ERC11x | ERC111A | 080G3230-Standard(Red LED without Buzzer) | 3.04 | PV02 |  | Danfoss.ERC111.db3 |  |  | Yes
ERC11x | ERC111A | 080G3231-Standard(Blue LED without Buzzer) | 3.04 | PV02 |  | Danfoss.ERC111.db3 |  |  | Yes
ERC11x | ERC111A | 080G3235-Standard(Blue LED with Buzzer) | 3.04 | PV02 |  | Danfoss.ERC111.db3 |  |  | Yes
ERC11x | ERC111A | 080G3236-Standard(Blue LED with Buzzer) | 3.04 | PV02 |  | Danfoss.ERC111.db3 |  |  | Yes
ERC11x | ERC111A | 080G3237-Standard(Blue LED without Buzzer) | 3.06 | PV01 |  | Danfoss.ERC111_080G3237.db3 |  |  | Yes
ERC11x | ERC111A | 080G3234-Standard(Red LED with Buzzer) | 3.05 | PV01 |  | Danfoss.ERC111_080G3234.db3 |  |  | No
ERC11x | ERC111A | 080G3232-Standard(Red LED without Buzzer) | 3.05 | PV02 |  | Danfoss.ERC111.db3 |  |  | No
ERC11x | ERC111A | 080G3244-Standard(Red LED with Buzzer) | 3.05 | PV01 |  | Danfoss.ERC111.db3 |  |  | No
ERC11x | ERC111A | 080G3247-CFF(Red LED with Buzzer) | 9.01 | PV01 |  | Danfoss.ERC111_080G3247.db3 |  |  | No
ERC11x | ERC111A | 080G3227-Standard(Red LED without Buzzer | 3.07 | PV02 |  | Danfoss.ERC111.db3 |  |  | No
ERC11x | ERC112C | 080G3202-GDM(Red LED without Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3206-GDM(Blue LED without Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3212-CFF(Red LED with Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3216-CFF(Blue LED with Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3202-GDM(Red LED without Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112C | 080G3206-GDM(Blue LED without Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112C | 080G3212-CFF(Red LED with Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112C | 080G3216-CFF(Blue LED with Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112C | 080G3224-CFF(Blue LED without Buzzer) | 3.17 | PV01 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3238-GDM(Red LED without Buzzer) | 3.19 | PV01 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3220-CFF(Blue LED with Buzzer) | 3.14 | PV02 |  | Danfoss.ERC112_080G3220.db3 |  |  | Yes
ERC11x | ERC112C | 080G3233-CFF(Blue LED with Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112C | 080G3218-GDM(Blue LED with Buzzer) | 3.06 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3226-GDM(Blue LED without Buzzer) | 3.07 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3416-CFF(Red LED with Buzzer) | 9.46 | PV01 |  | Danfoss.ERC112_080G3416.db3 |  |  | No
ERC11x | ERC112C | 080G3417-GDM(Blue LED with Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3418-GDM(Blue LED with Buzzer) | 3.16 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3276-CFF(Blue LED with Buzzer) | 3.25 | PV01 |  | Danfoss.ERC112_080G3276.db3 |  |  | Yes
ERC11x | ERC112C | 080G3276-CFF(Blue LED with Buzzer) | 9.32 | PV02 |  | Danfoss.ERC112_080G3276_M.db3 |  |  | Yes
ERC11x | ERC112C | 080G3275-GDM(Blue LED with Buzzer) | 3.24 | PV01 |  | Danfoss.ERC112_080G3275.db3 |  |  | Yes
ERC11x | ERC112C | 080G3239-GDM(Red LED with Buzzer) | 3.24 | PV01 |  | Danfoss.ERC112_080G3275.db3 |  |  | Yes
ERC11x | ERC112C | 080G3271-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3272-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3277-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3278-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3279-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3401-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3402-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3403-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3404-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3405-CFF(Blue LED without Buzzer) | 3.2 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3277-CFF(Blue LED without Buzzer) | 3.2 | PV02 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3223-GDM(Blue LED without Buzzer) | 3.16 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3223-GDM(Blue LED without Buzzer) | 3.16 | PV02 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3223-GDM(Blue LED without Buzzer) | 3.16 | PV03 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112C | 080G3243-CFF(Red LED without Buzzer) | 3.14 | PV01 |  | Danfoss.ERC112_080G3220.db3 |  |  | No
ERC11x | ERC112C | 080G3259-CFF(Red LED without Buzzer) | 9.15 | PV01 |  | Danfoss.ERC112_080G3259.db3 |  |  | No
ERC11x | ERC112D | 080G3203-GDM(Red LED without Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112D | 080G3207-GDM(Blue LED without Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112D | 080G3213-CFF(Red LED with Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112D | 080G3217-CFF(Blue LED with Buzzer) | 3.09 | PV02 |  | Danfoss.ERC112.db3 |  |  | Yes
ERC11x | ERC112D | 080G3203-GDM(Red LED without Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112D | 080G3207-GDM(Blue LED without Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112D | 080G3213-CFF(Red LED with Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112D | 080G3217-CFF(Blue LED with Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112D | 080G3229-GDM(Red LED without Buzzer) | 3.26 | PV03 |  | Danfoss.ERC112_080G3229.db3 |  |  | Yes
ERC11x | ERC112D | 080G3274-GDM(Blue LED without Buzzer) | 3.26 | PV01 |  | Danfoss.ERC112_080G3229.db3 |  |  | Yes
ERC11x | ERC112D | 080G3221-GDM(Blue LED without Buzzer) | 3.13 | PV01 |  | Danfoss.ERC112_080G3221.db3 |  |  | Yes
ERC11x | ERC112D | 080G3248-CFF(Red LED with Buzzer) | 9.15 | PV01 |  | Danfoss.ERC112_080G3248.db3 |  |  | No
ERC11x | ERC112D | 080G3408-GDM(Red LED without Buzzer) | 9.27 | PV01 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC112D | 080G3409-GDM(Red LED without Buzzer) | 9.36 | PV01 |  | Danfoss.ERC112_080G3409.db3 |  |  | Yes
ERC11x | ERC112D | 080G3410-CFF(Red LED with Buzzer) | 9.35 | PV01 |  | Danfoss.ERC112_080G3410.db3 |  |  | No
ERC11x | ERC112D VSC | 080G3410-CFF(Red LED with Buzzer) | 9.49 | PV02 |  | Danfoss.ERC112_080G3414.db3 |  |  | Yes
ERC11x | ERC112D | 080G3413-CFF(Blue LED with Buzzer) | 9.31 | PV01 |  | Danfoss.ERC112_080G3413.db3 |  |  | Yes
ERC11x | ERC112D VSC | 080G3414-CFF(Blue LED with Buzzer) | 9.49 | PV02 |  | Danfoss.ERC112_080G3414.db3 |  |  | Yes
ERC11x | ERC112D VSC | 080G3410-CFF(Red LED with Buzzer) | 6.05 | PV02 |  | Danfoss.ERC112_VSC.db3 |  |  | No
ERC11x | ERC112D VSC | 080G3414-CFF(Blue LED with Buzzer) | 6.05 | PV02 |  | Danfoss.ERC112_VSC.db3 |  |  | No
ERC11x | ERC112D | 080G3225-CFF(Blue LED without Buzzer) | 3.09 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112D | 080G3228-CFF(Blue LED without Buzzer) | 3.09 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112D | 080G3273-GDM(Blue LED without Buzzer) | 3.1 | PV01 |  | Danfoss.ERC112.db3 |  |  | No
ERC11x | ERC112D | 080G3419-GDM(Blue LED without Buzzer) | 9.51 | PV01 |  | Danfoss.ERC112_080G3419.db3 |  |  | No
ERC11x | ERC112D | 080G3419-GDM(Blue LED without Buzzer) | 9.52 | PV03 |  | Danfoss.ERC112_080G3419.db3 |  |  | No
ERC11x | ERC112D | 080G3415-GDM(Blue LED without Buzzer) | 6.05 | PV03 |  | Danfoss.ERC112_M.db3 |  |  | Yes
ERC11x | ERC113C | 080G3252-GDM(No LED No Buzzer) | 3.03 | PV01 |  | Danfoss.ERC113.db3 |  |  | Yes
ERC11x | ERC113C | 080G3254-GDM(No LED No Buzzer) | 3.04 | PV01 |  | Danfoss.ERC113.db3 |  |  | Yes
ERC11x | ERC113C | 080G3406-GDM(No LED No Buzzer) | 3.04 | PV01 |  | Danfoss.ERC113.db3 |  |  | No
ERC11x | ERC113C | 080G3406-GDM(No LED No Buzzer) | 6.01 | PV02 |  | Danfoss.ERC113_M.db3 |  |  | No
ERC11x | ERC113C | 080G3407-GDM(No LED No Buzzer) | 6.01 | PV02 |  | Danfoss.ERC113_M.db3 |  |  | No
ERC11x | ERC113C | 080G3407-GDM(No LED No Buzzer) | 3.04 | PV01 |  | Danfoss.ERC113.db3 |  |  | No
ERC11x | ERC113C | 080G3254-GDM(No LED No Buzzer) | 6.01 | PV02 |  | Danfoss.ERC113_M.db3 |  |  | Yes
ERC11x | ERC113C | 080G3252-GDM(No LED No Buzzer) | 6.01 | PV02 |  | Danfoss.ERC113_M.db3 |  |  | No
ERC11x | ERC113D | 080G3253-GDM(No LED No Buzzer) | 3.03 | PV01 |  | Danfoss.ERC113.db3 |  |  | Yes
ERC11x | ERC113D | 080G3253-GDM(No LED No Buzzer) | 6.01 | PV02 |  | Danfoss.ERC113_M.db3 |  |  | Yes
ERC11x | ERC113D | 080G3420-GDM(No LED No Buzzer) | 9.02 | PV01 |  | Danfoss.ERC113_080G3420.db3 |  |  | No
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3290-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3293-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3288-(Red LED,230V,Industrial Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3262-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3263-(Red LED,230,KIT,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC211 | 080G3297-(Red LED,115V,Industrial Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3291-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3294-(Red LED,230,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3289-(Red LED,230V,Industrial Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3264-(Red LED,115V,KIT,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3265-(Red LED,230V,KIT,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3298-(Red LED,115V,Industrial Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App0 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App0 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App1 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App1 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App2 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App2 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App3 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App3 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App4 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App4 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App5 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App5 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3268-(115V AC 50/60Hz) | 9.11 |  | App6 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3269-(230V AC 50/60Hz) | 9.11 |  | App6 | Danfoss.ERC213_NAM.db3 |  |  | Yes
ERC21x | ERC213 | 080G3266-(Red LED,230V,Industrial Pack) | 9.05 |  | GEM | Danfoss.ERC214_GEM.db3 |  |  | No
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App0 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App1 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App2 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App3 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App4 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App5 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3292-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3295-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3296-(Red LED,230V,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
ERC21x | ERC214 | 080G3299-(Red LED,115V,Single/Multi Pack) | 5.01 |  | App6 | Danfoss.ERC214.db3 |  |  | Yes
EKE1x | EKE 1A | 080G5300 |  | PV04 |  | Danfoss.EKE_1C_2.04.db3 |  |  | Yes
EKE1x | EKE 1A | 080G5300 |  | PV03 |  | Danfoss.EKE_1C_2.02.db3 |  |  | Yes
EKE1x | EKE 1A | 080G5300 |  | PV02 |  | Danfoss.EKE_1C_1.19.db3 |  |  | Yes
EKE1x | EKE 1A | 080G5300 |  | PV01 |  | Danfoss.EKE_1C_1.15.db3 |  |  | Yes
EKE1x | EKE 1B | 080G5350 |  | PV04 |  | Danfoss.EKE_1C_2.04.db3 |  |  | Yes
EKE1x | EKE 1B | 080G5350 |  | PV03 |  | Danfoss.EKE_1C_2.02.db3 |  |  | Yes
EKE1x | EKE 1B | 080G5350 |  | PV02 |  | Danfoss.EKE_1C_1.19.db3 |  |  | Yes
EKE1x | EKE 1B | 080G5350 |  | PV01 |  | Danfoss.EKE_1C_1.15.db3 |  |  | Yes
EKE1x | EKE 1C | 080G5400 |  | PV04 |  | Danfoss.EKE_1C_2.04.db3 |  |  | Yes
EKE1x | EKE 1C | 080G5400 |  | PV03 |  | Danfoss.EKE_1C_2.02.db3 |  |  | Yes
EKE1x | EKE 1C | 080G5400 |  | PV02 |  | Danfoss.EKE_1C_1.19.db3 |  |  | Yes
EKE1x | EKE 1C | 080G5400 |  | PV01 |  | Danfoss.EKE_1C_1.15.db3 |  |  | Yes
EKE1x | EKE 1D | 080G5360 |  | PV01 |  | Danfoss.EKE_1C_2.04.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 1. Comp/Alarm/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 2. Comp/Light/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 3. Comp/Railheat/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 4. Comp/Custom | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 5. EEV/Comp/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 6. EEV/Alarm/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 7. EEV/Light/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 8. EEV/Rail/Fan/Defrost | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Compact | 084B4081-AK-CC55 Compact | 1.9 |  | 9. EEV/Custom | Danfoss.AKCC_5XX_084B4081_1.90.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 1. Comp/Alarm/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 | Yes | USB | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 2. Comp/Rail/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 3. Comp/Alarm/Rail | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 4. Alarm/Rail/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 5. Hotgas remote | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 6. Dual with 1 evap. | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 7. Dual with 2 evap. | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 8. Coldroom | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4082-AK-CC55 Single Coil | 1.32 |  | 9. Custom | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 1. Comp/Alarm/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 2. Comp/Rail/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 3. Comp/Alarm/Rail | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 4. Alarm/Rail/Light | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 5. Hotgas remote | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 6. Dual with 1 evap. | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 7. Dual with 2 evap. | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 8. Coldroom | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Single Coil | 084B4083-AK-CC55 Single Coil UI | 1.32 |  | 9. Custom | Danfoss.AKCC_5XX_084B4082_1.32.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4084-AK-CC55 Multi Coil | 1.72 |  | 1. One evaporator MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4084-AK-CC55 Multi Coil | 1.72 |  | 2. Two evaporators MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4084-AK-CC55 Multi Coil | 1.72 |  | 3. Three evaporators MT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4084-AK-CC55 Multi Coil | 1.72 |  | 4. Coldroom 2 MT/HT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4084-AK-CC55 Multi Coil | 1.72 |  | 5. Coldroom 2 MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4085-AK-CC55 Multi Coil UI | 1.72 |  | 1. One evaporator MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4085-AK-CC55 Multi Coil UI | 1.72 |  | 2. Two evaporators MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4085-AK-CC55 Multi Coil UI | 1.72 |  | 3. Three evaporators MT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4085-AK-CC55 Multi Coil UI | 1.72 |  | 4. Coldroom 2 MT/HT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes
AK-CC55 | AK-CC55 Multi Coil | 084B4085-AK-CC55 Multi Coil UI | 1.72 |  | 5. Coldroom 2 MT/LT | Danfoss.AKCC_5XX_084B4084_1.72.db3 |  |  | Yes